SOFTWARE TEST PLAN

(SDD)

For
LCP Project

Submitted to

DRDL

By

ICOMM Tele Limited

Plot No. 40-46, Phase – 1, IDA, Cherlapally, Hyderabad – 500 051

Document Revision

| Name | Revision | Date | Modified | Company | Approved by | Signature |
| --- | --- | --- | --- | --- | --- | --- |
| G. Seshu Kumar | 1.00 | 12-04-2024 | Initial draft | Sr Manager, ICOMM | TBD | TBD |
| Jay Prakash | 1.01 | 28-04-2025 | Content Updated and Screen Modified | Manager, ICOMM | TBD | TBD |

Table of Contents

1	Introduction	5

2	Test Objectives	5

3	Requirements Addressed	5

4	Prerequisite Conditions	6

4.1	Test inputs	6

4.2	Expected Result	8

5	Scope	8

6	Test Strategy	9

6.1	Test Types	9

6.2	Testing Approach	9

7	Resources	9

8	Schedule	9

9	Risks	10

10	Deliverables	10

11	Module-wise Testing Overview	10

11.1	Login Module	10

11.2	Diesel Generator (DG)	11

11.3	UPS	11

11.4	Switch	11

11.5	Radio	11

11.6	Dashboard	11

11.7	Tabular Report	11

11.8	Line Graph	11

11.9	Archive Management	11

11.10	User Management	11

11.11	Sub-System Status	11

# Introduction

This test plan defines the scope, objectives, resources, approach, and schedule for testing the LCP Monitoring System software. The software modules include Login, Diesel Generator (DG), UPS, Switch, Radio, Dashboard, Tabular Report, LineGraph, Archive Management, User Management, and Sub-System Status. The purpose is to ensure the software meets specified requirements and performs reliably in the production environment.

# Test Objectives

- Validate that each module meets its functional requirements.

- Ensure data accuracy and real-time update for monitoring parameters.

- Verify the UI elements, layout, and navigation across modules.

- Confirm security features such as authentication and input sanitization.

- Test integration points between modules and with data sources.

- Identify and report any defects, ensuring critical flaws are fixed before release.

# Requirements Addressed

The requirements addressed in the reporting system are summarized in the following

| S. No. | Requirement Category | Description |
| --- | --- | --- |
| 1 | Reporting Software | Software as per supply order ASL S.O. No ASL312240686700330012 |
| 2 | Message Processing | Receive commands via MMI, process, and return execution results; handle malformed/unauthorized commands |
| 3 | Command Processing | GUI specified in Software Design Document (SDD) |
| 4 | User Interface | Query sub-systems for relevant data; record into the database as per user selection |
| 5 | Communication | Robust handling of unknown/known exceptions, display errors, and corrective information |
| 6 | Malfunction | Extract health data from TCP, UDP, and SNMP packets; identify system health |
| 7 | Receive Sub-system health | Monitor and display live health data from subsystems |
| 8 | Record Data | Store extracted health information in a database for report generation |
| 9 | Store Data | Read config files for fault status mapping and data field descriptions |
| 10 | Generate LCP System Reports | Detailed reports in tabular or graphical format; exportable to PDF, DOC, XLS |
| 11 | Manage Data | Export data in XLS, CSV, PDF; archive and delete data from the system |
| 12 | CSCI Internal Data Requirements | Login screen with network selection, optional exercise logging, password reset; main menu with subsystem status |
| 13 | Archive Management | View and delete archived data by subsystem and date range |
| 14 | User Management | Admin privileges to view and delete users |
| 15 | About | Application info, version, subsystem status |
| 16 | Adaptation Requirements | Reflect IP address changes in configuration files |
| 17 | Safety Requirements | Antivirus protection and login/logout mechanism |
| 18 | Security and Privacy | Windows OS with SQL Server; prevent unauthorized access |
| 19 | Environment Requirements | Hardware and software environment as specified |
| 20 | Software Validation | Development test reports, integration testing, and verification |
| 21 | Training | Practical training and a user manual help with the software |
| 22 | Logistics | Provide additional modules and antivirus software updates |
| 23 | Packaging | Software delivered on installation media with dependent packages |

# Prerequisite Conditions

## Test inputs

| S. No. | CSCI Requirement | Qualification Provision |
| --- | --- | --- |
| 1 | The reporting application should have sub-subsystems for health packets periodically | a) Turn on the subsystem(s) and open the application. b) Open Wireshark and observe if any packets are received from the subsystem(s). |
| 2 | Receiving sub-sub-subsystem health through sniffing | When the application is open and the sub-system is ON: a) Open Wireshark and capture the received packets. b) Verify the latest health data in the monitoring GUI. |
| 3 | Recording received Data to a text file. | When the application is open and the sub-system is ON: Verify that packets from the sub-system are stored in a predefined file with a timestamp. |
| 4 | Error/exception and malfunction handling | a) Packets sent with different errors via test software. b) Check if errors/exceptions are displayed in the monitoring view. |
| 5 | Storing data in a database | When the application is open and the sub-system is ON, verify health data stored in the text file is reflected in the "Status History" submenu. |
| 6 | Configuring the Subsystem | a) Select sub-system config menu > Edit submenu. b) Make changes to the config file and save. c) Select the View submenu to verify changes. |
| 7 | Reports generation | a) Select the Report menu in the GUI. b) Choose report type. c) Select fields/conditions. d) Click Generate to display the report. e) Export report by selecting file format. |
| 8 | Managing the database data | a) Select the sub-system menu > Status History submenu. b) View recorded data for the sub-system. c) Choose a date range for archiving/deleting data. d) Confirm GUI update after operation. |

## Expected Result

- Sub-subsystems for health packets-Packets from subsystems are received and logged via Wireshark when the application is open.

- Receive sub-sub-subsystem health data captured by Wireshark that matches the data displayed on the monitoring GUI.

- Record data to a text file-Packets are stored correctly in a predefined file with accurate timestamps during system operation.

- Handle errors/exceptions-Error and exception packets generated via test software are displayed properly on the monitoring view.

- Store data in a database-Health data in the text file is reflected correctly in the database and visible in the Status History submenu.

- Configure subsystem-Changes made to configuration files are saved and reflected correctly in the application view.

- Generate reports-Reports are generated according to user selection and can be exported in PDF, DOC, and XLS formats.

- Manage database data-Data can be viewed, archived, or deleted as per selected criteria, and the GUI updates accordingly.

# Scope

Testing will cover functional, UI, integration, and security aspects of the LCP modules listed. The plan includes verification of input validation, real-time data updates, status indicators, alerts and traps handling, data reporting, graphical displays, user and archive management, and subsystem status. Non-functional testing (performance/load) is scoped for critical modules with real-time data.

Out of scope: Hardware level testing, external systems beyond data interface verification.

# Test Strategy

## Test Types

- Functional Testing: Verify correct implementation of features per module.

- UI Testing: Ensure usability and visual correctness.

- Integration Testing: Validate data flow and interactions between modules.

- Security Testing: Test login, authentication, and SQL injection resistance.

- Regression Testing: Re-test after fixes to ensure no impact on existing functionality.

- Performance Testing: Verify response and update times in real-time data modules.

## Testing Approach

- Test cases are structured by module with detailed steps.

- Both positive and negative scenarios will be tested.

- Automation may be applied for regression and repetitive tests.

- Manual testing for exploratory and UI validations.

- Frequent builds are used for incremental testing.

# Resources

- Test Team: Assign testers by module expertise.

- Tools: Test management software, defect tracking system, automation tools (if any).

- Environment: Dedicated test environment mirroring production data and infrastructure.

- Hardware: Standard client machines, network connectivity for remote testing.

# Schedule

| Activity | Start Date | End Date | Responsible |
| --- | --- | --- | --- |
| Test Planning | 2025-08-23 | 2025-08-25 | Manager |
| Test Case Preparation | 2025-08-26 | 2025-08-30 | Testers |
| Test Execution | 2025-9-01 | 2025-09-15 | Testers |
| Defect Reporting & Fix | 2025-09-02 | 2025-09-20 | Sr Engineer |
| Regression Testing | 2025-09-16 | 2025-09-22 | Testers |
| Test Closure | 2025-09-23 | 2025-09-25 | Test Manager |

# Risks

- Delays in development are impacting the test start.

- Unavailability of stable test data reflecting real scenarios.

- Complexity in real-time data validation.

- Potential environment configuration mismatches.

- Resource availability conflicts.

Risk mitigation involves early scheduling, periodic sync-up with development, and contingency plans for environment setup.

# Deliverables

- Detailed Test Cases & Execution Results organized by module.

- Defect Log with severity classification.

- Test Summary Report pass/fail status, and risks.

- Recommendations and sign-off documentation.

# Module-wise Testing Overview

## Login Module

Verify input validations, authentication success and failure scenarios, UI responsiveness, forgot password, device selection, security against injections, and logout behavior.

## Diesel Generator (DG)

Test real-time parameter displays, alert triggering (normal and critical traps), status indicators, event timestamps, and UI layout consistency.

## UPS

Validate UPS parameter accuracy (input/output/bypass), status indicators, alert notifications, event logging, and UI responsiveness.

## Switch

Check switch port parameters, admin and operation settings, temperature parameters, tooltip functionality, event time updates, error handling, and UI scaling.

## Radio

Validate terminal mode options, IP address fields, voltage readings, slot information and active indicators, trap receptions, status changes, and error display.

## Dashboard

Confirm dashboard layout, user welcome message, dynamic date/time, subsystem info tab, parameter tables, status indicators, and trap count updates.

## Tabular Report

Verify date-based data filtering, SNMP trap type toggle, pagination, search functionality, data accuracy, event time formatting, and help/document display.

## Line Graph

Test graph loading based on date and parameter selections, axis labels, responsiveness, empty data handling, logout, and help documentation.

## Archive Management

Check record viewing via date filters, SNMP filtering, pagination, data modification, save/delete ops, and logout functions.

## User Management

Validate user creation and deletion workflows, checkbox behaviors, and admin functionalities.

## Sub-System Status

Ensure sub-system status displays correctly, panel toggling, preview mode, sorting, scrolling, status indicators, trap event details, and performance under data load.